## Slide 1: Auckland Streetlight Network & Retrofit
David Dick

## Slide 2: Points for today
Auckland Transport (AT) Streetlight Background
Retrofit programme- accelerated renewal road lighting – LED conversion
LED luminaires
Tele-Management system

## Slide 3: Background
105,000 road lights (NZ=350,000)
45,000 P category
60,000 V category

## Slide 4: Current Stock
HID luminaires 99,000
LED Luminaires 4,900
Incandescent lamps 700
Fluorescent 400
Amenity lights 2,500

## Slide 5: Contract areas
 | Total lights | Stage 1 retrofit lights
North | 23,200 | 4,520
West | 14,100 | 4,780
Central | 33,600 | 16,100
South | 33,700 | 19,300
HGI | 400 | 300
Total | 105,000 | 45,000

## Slide 6
Five maintenance & renewals contracts across the region

## Slide 7: Retrofit Programme
Stage 1 – P category
Stage 2 – V category
[$22m – over 5 years
45,000 lights
60,000 lights
45,000 lights]

## Slide 8
To complete Stage 1 end June 2018
V category Stage 2 still needs Board sign off
June 2015 – 3,500 3,500
June 2016 – 9,000 12,500
June 2017 – 16,000 28,500
June 2018 – 16,500 45,000

## Slide 9: Two men crew – target 25 lights/day Currently 3 crews – best day is 80/day Next year 2016-17 – 16,000 – 1,400/month

## Slide 10: LED Luminaires
AT – operates an approval process
Working with Christchurch City Council and NZTA
        M30
        Christchurch – Approved list
        AT – Approved list

## Slide 11: Approved list – Luminaires
Subject to commercial arrangements
No guarantee we will use the luminaires
Suitability of luminaire for the road configuration
About to go to tender for a further 16,000 luminaires

## Slide 12
Five non price attributes for P category retrofit
Marking Criteria and Score Calculation |  |  |  |  |  |  |  |  |  |  |  |  | 
Maximum Luminous Intensity (Candella) |  |  | Gamma80 Luminous Intensity (Candella) |  |  | P3 Design Spacing (m) achieved |  |  | P4 Design Spacing (m) achieved |  |  | Luminaire Power (W) | 
20.0% |  |  | 20.0% |  |  | 8.0% |  |  | 8.0% |  |  | 14.0% | 
LI Max | Score % |  | Gamma80 | Score % |  | P3 | Score % |  | P4 | Score % |  | Watts | Score %
> 2000 | FAIL |  | > 500 | FAIL |  | < 48 | FAIL |  | < 63 | FAIL |  | > 28 | FAIL
2000 | 10 |  | 500 | 10 |  | 48 | 35 |  | 63 | 35 |  | 28 | 35
1889 | 20 |  | 418 | 20 |  | 49 | 40 |  | 64 | 40 |  | 27 | 40
1785 | 30 |  | 350 | 30 |  | 50 | 50 |  | 65 | 50 |  | 26 | 45
1686 | 40 |  | 292 | 40 |  | 51 | 60 |  | 66 | 60 |  | 25 | 50
1593 | 50 |  | 245 | 50 |  | 52 | 70 |  | 67 | 70 |  | 24 | 55
1506 | 60 |  | 205 | 60 |  | 53 | 80 |  | 68 | 80 |  | 23 | 60
1422 | 70 |  | 171 | 70 |  | 54 | 90 |  | 69 | 90 |  | 22 | 65
1344 | 80 |  | 143 | 80 |  | ≥ 55 | 100 |  | ≥ 70 | 100 |  | 21 | 70
1270 | 90 |  | 120 | 90 |  |  |  |  |  |  |  | 20 | 80
≤ 1200 | 100 |  | ≤ 100 | 100 |  |  |  |  |  |  |  | 19 | 90
 |  |  |  |  |  |  |  |  |  |  |  | ≤ 18 | 100

## Slide 14: Tele – Management
Trim light output to control energy (ramp up dimming)
Measure energy use
Better information when negotiating electricity contract
Report problems
Interactive management

## Slide 15: Tele Management Overview

## Slide 16: Tele – Management
Write a specification for what you want
Keep flexibility for the future
AT has a 5 year contract with SLV
CMS must be able to communicate with many Outdoor Lighting Networks (OLN)

## Slide 17: Tele – Management
Communication between gateway and LPC
Power line carrier
RF
  Point to point
  RF mesh
  Dedicated network
  Shared network

## Slide 18: Summary
Stage 1 energy savings $2.16M/year
Additional savings tele management $.33M/year
Call centre savings reduced calls. (currently 750/month)
New energy contract? Better information.

## Slide 19: “The future is an opportunity and an obligation”